POTENTIAL COST EFFECTIVE ENERGY EFFICIENCY AND CONSERVATION IMPROVEMENTS FOR LEASED BUILDINGS

Efficiency measures such as, but not limited to:

- Heating, Ventilating, and Air Conditioning (HVAC) components, (not including boilers and chillers, although their replacement may also be cost effective in certain instances):

- Packaged air conditioning unit replacements

- HVAC damper and controller repair or replacement

- Window air conditioning replacement with high efficiency units

- Cooling tower retrofits or replacements

- Economizer installation

- Fans and pump replacement or impeller trimming

- Thermal energy storage

- Variable air volume retrofit

- Building Automation Systems (BAS) / Energy Monitoring / Management Control Systems (EMCS)

2.	Lighting Improvements:

- Interior and exterior lighting retrofits and replacements

- Intelligent lighting controls

- Occupancy sensors

- Light Emitting Diode technologies

- Daylighting

- Spectrally enhanced lighting

- Fiber optic lighting technologies

3.	Building Envelope Modifications:

- Insulation installation

- Weatherization

- Window replacement

- Reflective solar window tinting

4.	Chilled Water, Hot Water, and Steam Distribution Systems:

- Piping insulation installation

- Hot water heater repair and replacement

- Steam trap repair and replacement

- Repair or replacement of existing condensate return systems and installation of new condensate return systems

5.	Renewable Energy Systems:

- Photovoltaic system installation

- Solar hot water system installation

- Solar ventilation preheating system installation

- Wind energy system installation

- Passive solar heating installation

- Landfill gas, waste water treatment plant digester gas, and coalbed methane power plant installation

- Wood waste and other organic waste stream heating or power plant installation

- Replacement of air conditioning and heating units with ground coupled heat pump systems

6.	Water and Sewer Conservation Systems:

- Low-flow faucets and showerheads

- Low-flow plumbing equipment

- Water efficient irrigation

- On-site sewer treatment systems

7.	Electrical Peak Shaving/Load Shifting:

- Thermal energy storage

- Gas cooling

8.	Energy Reduction Through Metering Systems:

- Energy service billing and meter auditing recommendations

9.	Energy Related Process Improvements:

- Production and/or manufacturing improvements

- Recycling and other waste stream reductions

- Industrial process improvement

10.	Appliance/Plug-load reductions:

- Replace air-cooled ice/refrigeration equipment

- Replace refrigerators

- De-lamp vending machines

- Plug timers

- Energy Star® products